## Light
profile | category | annual_demand_kwh | annual_grid_kwh | annual_solar_kwh | solar_fraction | solar_used_when_needed_kwh | grid_used_when_needed_kwh | solar_heating_energy_fraction | solar_heating_event_fraction | cold_draw_pct | avg_temp | cost_USD | annual_solar_savings_USD | cost_without_solar_USD | savings_percentage | pv_generated_kwh | total_heating_kwh | energy_gap_kwh
light_01.csv | Light | 89.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 90 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 26190.6193
light_02.csv | Light | 134.6 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 26145.3798
light_03.csv | Light | 220.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 89.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 26059.5163
light_04.csv | Light | 262.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 26017.5978
light_05.csv | Light | 386.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25893.4899
light_06.csv | Light | 443.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25836.2999
light_07.csv | Light | 557.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25722.482
light_08.csv | Light | 541.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25738.2243
light_09.csv | Light | 550.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25729.9217
light_10.csv | Light | 544.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.3 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25735.7662
light_11.csv | Light | 577.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25702.5557
light_12.csv | Light | 584.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25695.6521
light_13.csv | Light | 670.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25609.0564
light_14.csv | Light | 673.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25606.2845
light_15.csv | Light | 772.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25507.4636
light_16.csv | Light | 826.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25453.8954
light_17.csv | Light | 855.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25424.0582
light_18.csv | Light | 863.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.3 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25416.3178
light_19.csv | Light | 929.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25350.9167
light_20.csv | Light | 978.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25301.4932
light_21.csv | Light | 987.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 87.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25292.6806
light_22.csv | Light | 1005.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25274.1926
light_23.csv | Light | 1038 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25241.9758
light_24.csv | Light | 988.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.2 | 87.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25291.6215
light_25.csv | Light | 996.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.5 | 86.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25283.4627
0.029167

## Medium
profile | category | annual_demand_kwh | annual_grid_kwh | annual_solar_kwh | solar_fraction | solar_used_when_needed_kwh | grid_used_when_needed_kwh | solar_heating_energy_fraction | solar_heating_event_fraction | cold_draw_pct | avg_temp | cost_USD | annual_solar_savings_USD | cost_without_solar_USD | savings_percentage | pv_generated_kwh | total_heating_kwh | energy_gap_kwh
medium_01.csv | Medium | 1076.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25203.2084
medium_02.csv | Medium | 1095 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 89.3 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25185.008
medium_03.csv | Medium | 1143.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 25136.2121
medium_04.csv | Medium | 1289.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24990.3474
medium_05.csv | Medium | 1289.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 87.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24990.8835
medium_06.csv | Medium | 1382.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24897.8287
medium_07.csv | Medium | 1452.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24827.6682
medium_08.csv | Medium | 1427.6 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24852.3617
medium_09.csv | Medium | 1542.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24737.1239
medium_10.csv | Medium | 1545.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.2 | 87 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24734.6919
medium_11.csv | Medium | 1554.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 88.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24725.0556
medium_12.csv | Medium | 1583.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0 | 88.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24696.6829
medium_13.csv | Medium | 1649.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.4 | 84.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24630.3273
medium_14.csv | Medium | 1695.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 87.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24584.1202
medium_15.csv | Medium | 1775.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 87.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24504.5065
medium_16.csv | Medium | 1839.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 87.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24440.0991
medium_17.csv | Medium | 1912.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.4 | 86 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24367.6374
medium_18.csv | Medium | 2104.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.2 | 86.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24175.1342
medium_19.csv | Medium | 2155.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.3 | 85.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24124.0502
medium_20.csv | Medium | 2181 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.8 | 83.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24098.9593
medium_21.csv | Medium | 2258.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.5 | 86.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 24021.2022
medium_22.csv | Medium | 2301.3 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.2 | 86.9 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23978.7346
medium_23.csv | Medium | 2287.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.1 | 85.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23992.1234
medium_24.csv | Medium | 2291.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.7 | 84 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23988.2532
0.19167

## Heavy
profile | category | annual_demand_kwh | annual_grid_kwh | annual_solar_kwh | solar_fraction | solar_used_when_needed_kwh | grid_used_when_needed_kwh | solar_heating_energy_fraction | solar_heating_event_fraction | cold_draw_pct | avg_temp | cost_USD | annual_solar_savings_USD | cost_without_solar_USD | savings_percentage | pv_generated_kwh | total_heating_kwh | energy_gap_kwh
heavy_01.csv | Heavy | 2387.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.4 | 86.2 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23892.5181
heavy_02.csv | Heavy | 2500.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.8 | 84.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23779.5762
heavy_03.csv | Heavy | 2634.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.9 | 83 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23645.5313
heavy_04.csv | Heavy | 2793 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.9 | 83.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23487.01
heavy_05.csv | Heavy | 2777.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.9 | 82.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23502.7916
heavy_06.csv | Heavy | 2840 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.4 | 84.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23440.0054
heavy_07.csv | Heavy | 2887.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.8 | 81.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23392.9223
heavy_08.csv | Heavy | 3082 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.1 | 81.2 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23198.0264
heavy_09.csv | Heavy | 3178.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.3 | 79.2 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23101.5067
heavy_10.csv | Heavy | 3264.7 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.9 | 83.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 23015.3163
heavy_11.csv | Heavy | 3371.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.9 | 81.6 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22908.8335
heavy_12.csv | Heavy | 3360.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 2 | 77.7 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22919.0843
heavy_13.csv | Heavy | 3606.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.2 | 81.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22673.0782
heavy_14.csv | Heavy | 3690.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.3 | 79.4 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22589.8166
heavy_15.csv | Heavy | 3699.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.1 | 80.2 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22580.2457
heavy_16.csv | Heavy | 3887.9 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.7 | 78 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22392.0572
heavy_17.csv | Heavy | 3957.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.3 | 78.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22322.8774
heavy_18.csv | Heavy | 4028.1 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.8 | 78.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22251.9194
heavy_19.csv | Heavy | 4039.2 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 0.8 | 81.3 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22240.8449
heavy_20.csv | Heavy | 4100.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 1.5 | 78.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 22179.6277
heavy_21.csv | Heavy | 4361.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 4.4 | 71.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 21918.6115
heavy_22.csv | Heavy | 4531.4 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 2.6 | 77.1 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 21748.6496
heavy_23.csv | Heavy | 4685.5 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 3.6 | 74.8 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 21594.4561
heavy_24.csv | Heavy | 4707.8 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 2.7 | 72.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 21572.2417
heavy_25.csv | Heavy | 4981.6 | 23247.3 | 3032.7 | 11.54% | 3032.7 | 23247.3 | 11.54% | 49.79% | 7.3 | 77.5 | 348.71 | 45.49 | 394.2 | 11.5 | 3032.7019 | 26280 | 21298.4381
1.4708